## Arkusz2
Part Number | Description
3015-5138 | HGM-RD, Remote Display Module
See Technical Library for Instruction Manual
Audible/Visual Alarm, 110 VAC, Blue Strobe
3015-5804
3015-3076 | Audible/Visual Alarm, 120 VAC, Red Strobe
3015-5490 | Audible/Visual Alarm, 24 VDC, Surface Mount, IP65 rating, red lens
3015-5491 | Audible/Visual Alarm, 24 VDC, Surface Mount, IP54 rating, red lens
3015-3235 | Air Sample Tubing (250 ft. / 76 m roll)
3015-5111 | Air Sample Tubing - AMMONIA ONLY (500 ft. / 152 m roll)
3015-5762 | Air Sample Tubing Coupling, Quick Disconnect
3015-5404 | Splitter Kit, 2-way, includes line end filters and brackets (Not for use w/NH3)
3015-5405 | Splitter Kit, 3-way, includes line end filters and brackets(Not for use w/NH3)
3015-3430 | R-22 Gas Verification Kit
3015-3437 | R-134a Gas Verification Kit
3015-3438 | R-123 Gas Verification Kit
3015-3849 | Variable Flow Regulator
3015-3850 | 1031 Cylinder, 100 ppm R-22
3015-3851 | 1031 Cylinder, 100 ppm R-134a
3015-3852 | 1031 Cylinder, 100 ppm R-123
3015-4121 | 120 VAC Surge Protector
3015-4123 | 4-20 mA DC Surge Protector
5700-0031 | Wall-Mount Uninterruptable Power Supply (UPS) Backup
3015-5705 | BacNet Communications Module Package
N2 (JCI Metasys) Communications Package
3015-4230
3015-4231 | Lon Works Communications Package
3015-5171 | 4 Zone Expansion Kit (max of 3 per MZ) Note: Must also order 3015-3411
Dual 4-20 mA DC output PC board
3015-5152
Line End Filter Only
3015-2906
Line End Filter Assembly
3015-3420
3015-3125 | Charcoal Filter Assembly with Fittings
3015-2969 | Charcoal Filter Mounting Bracket
3015-5748 | Splash/Spray-Resistant End of Line Filter Assembly
0007-1650 | Hydrophobic Filter (Internal Water Stop)
0007-1655 | Inline Water Trap
0007-1656 | Inline Water Trap, Replacement Filter Element
3015-5512 | Line End Water Stop
3015-5176 | Sample Pump